## Slide 1
Variable | Description | Mode of Prescription
 | Volume of parent compartment | Determined from room dimensions
 | Volume of sub-compartment | Calibrated from CFD
 | Room air exchange rate | Room dependent
 | Aerosol mass generation rate (source) | Determined from literature for coughing w/ or w/o mask, or AGP
 | Aerosol concentration in the perfectly mixed parent compartment | Calculated by compartment model
 | Aerosol concentration in the perfectly mixed sub-compartment | Calculated by compartment model
 | Time | Not applicable
 | Compartment coupling coefficient | Calibrated from CFD
 | Settling rate factor in parent compartment | Determined from literature or calibrated from CFD
 | Settling rate factor in sub-compartment | Determined from literature or calibrated from CFD
 | Channeling factor (accounting for channeling between source and exhaust air vent) | Calibrated from CFD
Variable | Description | Mode of Prescription
 | Volume of parent compartment | Determined from room dimensions
 | Volume of sub-compartment | Calibrated from CFD
 | Room air exchange rate | Room dependent
 | Aerosol mass generation rate (source) | Determined from literature for coughing w/ or w/o mask, or AGP
 | Aerosol concentration in the perfectly mixed parent compartment | Calculated by compartment model
 | Aerosol concentration in the perfectly mixed sub-compartment | Calculated by compartment model
 | Time | Not applicable
 | Compartment coupling coefficient | Calibrated from CFD
 | Settling rate factor in parent compartment | Determined from literature or calibrated from CFD
 | Settling rate factor in sub-compartment | Determined from literature or calibrated from CFD
 | Channeling factor (accounting for channeling between source and exhaust air vent) | Calibrated from CFD
Neglecting sinks (settling) and channeling
A constant source leads to a
steady state solution governed by
adding
& solving
Two-compartment model without channeling

## Slide 2
A constant source leads to a
steady state solution governed by
Neglecting sinks (settling)
Two-compartment model with channeling
adding
& solving
inserting into
(1) & solving
(1)
(2)
Note: If there is no channeling, which leads to , and the expression for
reduces to the expression obtained in previous slide

## Slide 3
Although the compartment coupling coefficient, , and the channeling coefficient, , where found previously for
the case of a constant aerosol source , and are purely flow dependent, thus the values for and found
should be applicable for general (time-dependent) sources.
Next we solve the compartment model ODEs numerically

## Slide 4
Neglecting sinks (settling)
Discretizing with implicit Euler
+

## Slide 5
+
+

## Slide 6
flow in
flow out
flow in